## 0982
Date | Lab | Fluorometer | ss_low | ss_high | fm | slope | r2 | Checked | Notes
2015-03-16 | Hakai | 720000982 | NA | NA | 1.8 | 0.00060444 | 0.99915 | 2022-03-21
2016-04-02 | Hakai | 720000982 | NA | NA | 1.8 | 0.00061367 | 0.99972 | 2022-03-21
2017-05-02 | Hakai | 720000982 | NA | NA | 1.7704 | 0.00062384 | 0.99914 | 2022-03-21 | All acid ratios were low for this calibration
2018-04-17 | Hakai | 720000982 | 13577.8 | NA | 1.7944 | 0.00057922 | 0.99981 | 2022-03-21 | Hakai instrument cross calibration experiment. Not applied to data.
2018-05-04 | DFO | 720000982 | 13494.5 | NA | 1.8395 | 0.00064132 | 0.99994 | 2022-03-21 | Calibration performed at DFO-IOS with standards used for IOS water properties 10AU fluorometers
2019-05-09 | DFO | 720000982 | 13730.3 | 19358.92 | 1.8469 | 0.00066115 | 0.99997 | 2022-03-21 | Calibration performed at DFO-IOS with standards used for IOS water properties 10AU fluorometers
2015-03-19 | Hakai | 720001154 | NA | NA | 1.7298 | 0.00044549 | 0.99975 | 2022-03-21
2015-08-06 | Hakai | 720001154 | NA | 17125 | 1.6728 | 0.00050875 | 0.99993 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2016-05-14 | Hakai | 720001154 | 12875.72 | NA | 1.67 | 0.00046606 | 0.99982 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2017-08-01 | Hakai | 720001154 | NA | 16646.76 | 1.67 | 0.00044153 | 0.99848 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2017-08-16 | Hakai | 720001154 | 12397.87 | NA | 1.6788 | 0.00054163 | 0.99974 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2018-04-17 | Hakai | 720001154 | 12246.33 | NA | 1.6755 | 0.00045792 | 0.99963 | 2022-03-21 | Hakai instrument cross calibration experiment. Not applied to data.
2018-05-04 | DFO | 720001154 | 12465.07 | NA | 1.7306 | 0.00050223 | 0.99972 | 2022-03-21 | Calibration performed at DFO-IOS with standards used for IOS water properties 10AU fluorometers.
2019-05-09 | DFO | 720001154 | 12618.06 | 18954.2 | 1.7405 | 0.00050771 | 0.99976 | 2022-03-21 | Calibration performed at DFO-IOS with standards used for IOS water properties 10AU fluorometers. Blank was very low of for this instrument.

## 1154
Date | Fluorometer | ss_low | ss_high | fm | slope | r2 | Checked | Notes
2015-03-19 | 720001154 | NA | NA | 1.7298 | 0.00044549 | 0.99975 | 2022-03-21
2015-08-06 | 720001154 | NA | 17125 | 1.6728 | 0.00050875 | 0.99993 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2016-05-14 | 720001154 | 12875.72 | NA | 1.67 | 0.00046606 | 0.99982 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2017-08-01 | 720001154 | NA | 16646.76 | 1.67 | 0.00044153 | 0.99848 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2017-08-16 | 720001154 | 12397.87 | NA | 1.6788 | 0.00054163 | 0.99974 | 2022-03-21 | Acid ratios much lower than those derived during DFO calibrations. Also large difference in slope from previous calibration.
2018-04-17 | 720001154 | 12246.33 | NA | 1.6755 | 0.00045792 | 0.99963 | 2022-03-21 | Hakai instrument cross calibration experiment. Not applied to data.
2018-05-04 | 720001154 | 12465.07 | NA | 1.7306 | 0.00050223 | 0.99972 | 2022-03-21 | Calibration performed at DFO-IOS with standards used for IOS water properties 10AU fluorometers.
2019-05-09 | 720001154 | 12618.06 | 18954.2 | 1.7405 | 0.00050771 | 0.99976 | 2022-03-21 | Calibration performed at DFO-IOS with standards used for IOS water properties 10AU fluorometers. Blank was very low of for this instrument.